## Assumptions
Economic and Financial Assumptions |  | Run Option | No Run Option
General Escalation Rate | % | 0% | 0%
Labor Escalation Rate | % | 0% | 0%
Fuel Escalation Rate | % | 0% | 0%
Operating Assumptions |  | Run Option | No Run Option
Capacity | MW | 102 | 102
Capacity Factor | % | 75% | 0%
Fuel Assumptions |  | Run Option | No Run Option
Fuel Cost | $/GT | 28 | 28
Fuel Burn Rate | GT/MWh | 1.3 | 1.3
Maintenance Cost Assumptions |  | Run Option | No Run Option
Consumables, Chemicals & Testing | $/MWh | 1.5491 | 1.5491
Maintenance-Parts and Equipment | $/MWh | 0.18724 | 0.18724
Maintenance-Services | $/MWh | 0.85923 | 0.85923
Major Fan Inspection | $ | 15000 | 15000
BFP Inspection | $ | 100000 | 100000
Other Major Pump Inspection | $ | 75000 | 75000
BFP & Other Major Valves | $ | 50000 | 50000
Transformer Major Maint | $ | 60000 | 60000
Boiler Inspection Outage Modifier | $ | 36000 | 36000
Boiler Inspection Transition Outage | $ | 288000 | 288000
Boiler Chemical Cleaning | $ | 250000 | 250000
SCR Catalyst Replacement | $ | 800000 | 800000
Turbine Major Maintenance | $ | 4000000 | 4000000
Turbine Valves Maintenance | $ | 600000 | 600000
Baghouse Replacements | $ | 125000 | 125000
Material Handling/Fuel Yard Equipment (New) | $ | 1800000 | 1800000
Material Handling/Fuel Yard Equipment (Rebuilt) | $ | 350000 | 350000
Miscellaneous Equipment Allowance | $ | 100000 | 50000
Major Maintenance Run Hour Assumptions |  | Run Option | No Run Option
SCR Catalyst Replacement | Hours | 18000 | 18000
Turbine Major Maintenance | Hours | 60000 | 60000
Turbine Valves Maintenance | Hours | 30000 | 30000

## Attachment 1-Reserve Status
ATTACHMENT 1
Gainesville Regional Utilities
Gainesville Renewable Energy Center
Operating, Maintenance & Capital Expenditure Forecast - Emergency Reserve Status
Cost projections are presented in real/constant dollars (2017$), except for percentages (%), hours, and generation (MWh)
Year
|  | Units | 2014 Actual | 2015 Actual | 2016 Actual | 2017 Budget | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047
Operating Data
| Capacity Factor | % | bar: 2018 to 2047
| Annual Power Generation | MWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Run Hours | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Cost Break Down
| Fuel Cost per Unit | $/GT |  |  |  | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
Gross Fuel Costs
| Fuel Cost | $ |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other Costs | $
| Total Fuel Costs | $ |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operations & Maintenance Expense
Fixed
| Site Labor & Benefits | $ |  |  |  | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000 | 4402000
| General & Administrative | $ |  |  |  | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000 | 258000
| Consumables, Chemicals & Testing | $ |  |  |  | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000
| Maintenance-Parts and Equipment | $ |  |  |  | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000
| Maintenance-Services | $ |  |  |  | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000
| Utilties | $ |  |  |  | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000
Variable
| Consumables, Chemicals & Testing | $ |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Maintenance-Parts and Equipment | $ |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Maintenance-Services | $ |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ash Disposal | $ |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Operations Expense | $ |  |  |  | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000 | 7239000
Routine Maintenance/Inspection Costs
| Major Fan Inspection | $ |  |  |  |  | 2019: 15000; 2022: 15000; 2025: 15000; 2028: 15000; 2031: 15000; 2034: 15000; 2037: 15000; 2040: 15000; 2043: 15000; 2046: 15000
| BFP Inspection | $ |  |  |  |  | 2022: 100000; 2028: 100000; 2034: 100000; 2040: 100000; 2046: 100000
| Other Major Pump Inspection | $ |  |  |  |  | 2019: 75000; 2025: 75000; 2031: 75000; 2037: 75000; 2043: 75000
| BFP & Other Major Valves | $ |  |  |  |  | 2019: 50000; 2022: 50000; 2025: 50000; 2028: 50000; 2031: 50000; 2034: 50000; 2037: 50000; 2040: 50000; 2043: 50000; 2046: 50000
| Transformer Major Maintenance | $ |  |  |  |  | 2022: 60000; 2028: 60000; 2034: 60000; 2040: 60000; 2046: 60000
| Boiler Inspection | $ |  |  |  |  | 2019: 36000; 2022: 36000; 2025: 36000; 2028: 36000; 2031: 36000; 2034: 36000; 2037: 36000; 2040: 36000; 2043: 36000; 2046: 36000
| Boiler Chemical Cleaning | $ |  |  |  |  | 2022: 250000; 2032: 250000; 2042: 250000
Major Maintenance Costs
| SCR Catalyst Replacement | $
| Turbine Major Maintenance | $
| Turbine Valves | $
| Baghouse Replacements | $
| Material Handling/Fuel Yard Equipment | $
| Miscellaneous Equipment Allowance | $ |  |  |  |  | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000
| Total Maintenance Cost | $ |  |  |  | 0 | 50000 | 226000 | 50000 | 50000 | 561000 | 50000 | 50000 | 226000 | 50000 | 50000 | 311000 | 50000 | 50000 | 226000 | 300000 | 50000 | 311000 | 50000 | 50000 | 226000 | 50000 | 50000 | 311000 | 50000 | 300000 | 226000 | 50000 | 50000 | 311000 | 50000
| Total Non-Fuel Operating Expenses | $ |  |  |  | 7239000 | 7289000 | 7465000 | 7289000 | 7289000 | 7800000 | 7289000 | 7289000 | 7465000 | 7289000 | 7289000 | 7550000 | 7289000 | 7289000 | 7465000 | 7539000 | 7289000 | 7550000 | 7289000 | 7289000 | 7465000 | 7289000 | 7289000 | 7550000 | 7289000 | 7539000 | 7465000 | 7289000 | 7289000 | 7550000 | 7289000
| Total Operating Expenses | $ |  |  |  | 7239000 | 7289000 | 7465000 | 7289000 | 7289000 | 7800000 | 7289000 | 7289000 | 7465000 | 7289000 | 7289000 | 7550000 | 7289000 | 7289000 | 7465000 | 7539000 | 7289000 | 7550000 | 7289000 | 7289000 | 7465000 | 7289000 | 7289000 | 7550000 | 7289000 | 7539000 | 7465000 | 7289000 | 7289000 | 7550000 | 7289000

## Attachment 2-Baseload
ATTACHMENT 2
Gainesville Regional Utilities
Gainesville Renewable Energy Center
Operating, Maintenance & Capital Expenditure Forecast - Baseload Dispatch
Cost projections are presented in real/constant dollars (2017$), except for percentages (%), hours, and generation (MWh)
Year
|  | Units | 2014 Actual | 2015 Actual | 2016 Actual | 2017 Budget | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047
Operating Data
| Capacity Factor | % |  |  |  |  | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75%
| Annual Power Generation | MWh |  |  |  | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140 | 670140
| Total Run Hours | [5 empty] | 6570 | 13140 | 19728 | 26298 | 32868 | 39438 | 46026 | 52596 | 59166 | 65736 | 72324 | 78894 | 85464 | 92034 | 98622 | 105192 | 111762 | 118332 | 124920 | 131490 | 138060 | 144630 | 151218 | 157788 | 164358 | 170928 | 177516 | 184086 | 190656 | 197226
Fuel Cost Break Down
| Fuel Cost per Unit | $/GT |  |  |  | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
Gross Fuel Costs
| Fuel Cost | $ |  |  |  | 24393096 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000
| Other Costs | $
| Total Fuel Costs | $ |  |  |  | 24393096 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000 | 24393000
Operations & Maintenance Expense
Fixed
| Site Labor & Benefits | $ |  |  |  | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000 | 5050000
| General & Administrative | $ |  |  |  | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000 | 272000
| Consumables, Chemicals & Testing | $ |  |  |  | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000 | 270000
| Maintenance-Parts and Equipment | $ |  |  |  | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000 | 729000
| Maintenance-Services | $ |  |  |  | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000 | 801000
| Utilties | $ |  |  |  | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000 | 779000
Variable
| Consumables, Chemicals & Testing | $ |  |  |  | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000 | 1038000
| Maintenance-Parts and Equipment | $ |  |  |  | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000
| Maintenance-Services | $ |  |  |  | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000 | 576000
| Ash Disposal | $ |  |  |  | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000
| Total Operations Expense | $ |  |  |  | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000 | 10315000
Routine Maintenance/Inspection Costs
| Major Fan Inspection | $ |  |  |  |  | 2019: 15000; 2022: 15000; 2025: 15000; 2028: 15000; 2031: 15000; 2034: 15000; 2037: 15000; 2040: 15000; 2043: 15000; 2046: 15000
| BFP Inspection | $ |  |  |  |  | 2022: 100000; 2028: 100000; 2034: 100000; 2040: 100000; 2046: 100000
| Other Major Pump Inspection | $ |  |  |  |  | 2019: 75000; 2025: 75000; 2031: 75000; 2037: 75000; 2043: 75000
| BFP & Other Major Valves | $ |  |  |  |  | 2019: 50000; 2022: 50000; 2025: 50000; 2028: 50000; 2031: 50000; 2034: 50000; 2037: 50000; 2040: 50000; 2043: 50000; 2046: 50000
| Transformer Major Maintenance | $ |  |  |  |  | 2022: 60000; 2028: 60000; 2034: 60000; 2040: 60000; 2046: 60000
| Boiler Inspection | $ |  |  |  |  | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000
| Boiler Chemical Cleaning | $ |  |  |  |  | 2022: 250000; 2032: 250000; 2042: 250000
Major Maintenance Costs
| SCR Catalyst Replacement | $ |  |  |  |  | 2020: 800000; 2023: 800000; 2026: 800000; 2029: 800000; 2032: 800000; 2035: 800000; 2038: 800000; 2041: 800000; 2044: 800000
| Turbine Major Maintenance | $ |  |  |  |  | 2027: 4000000; 2037: 4000000
| Turbine Valves | $ |  |  |  |  | 2022: 600000; 2027: 600000; 2032: 600000; 2037: 600000; 2042: 600000
| Baghouse Replacements | $ |  |  |  |  | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000 | 125000
| Material Handling/Fuel Yard Equipment | $ |  |  |  |  | 2021: 1800000; 2029: 350000; 2036: 2150000; 2043: 1800000
| Miscellaneous Equipment Allowance | $ |  |  |  |  | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000
| Total Maintenance Cost | $ |  |  |  | 0 | 261000 | 401000 | 1061000 | 2061000 | 1336000 | 1061000 | 261000 | 401000 | 1061000 | 4861000 | 486000 | 1411000 | 261000 | 401000 | 1911000 | 261000 | 486000 | 1061000 | 2411000 | 5001000 | 1061000 | 261000 | 486000 | 1061000 | 1111000 | 2201000 | 1061000 | 261000 | 486000 | 261000
| Total Non-Fuel Operating Expenses | $ |  |  |  | 10315000 | 10576000 | 10716000 | 11376000 | 12376000 | 11651000 | 11376000 | 10576000 | 10716000 | 11376000 | 15176000 | 10801000 | 11726000 | 10576000 | 10716000 | 12226000 | 10576000 | 10801000 | 11376000 | 12726000 | 15316000 | 11376000 | 10576000 | 10801000 | 11376000 | 11426000 | 12516000 | 11376000 | 10576000 | 10801000 | 10576000
| Total Operating Expenses | $ |  |  |  | 34708096 | 34969000 | 35109000 | 35769000 | 36769000 | 36044000 | 35769000 | 34969000 | 35109000 | 35769000 | 39569000 | 35194000 | 36119000 | 34969000 | 35109000 | 36619000 | 34969000 | 35194000 | 35769000 | 37119000 | 39709000 | 35769000 | 34969000 | 35194000 | 35769000 | 35819000 | 36909000 | 35769000 | 34969000 | 35194000 | 34969000